{"text_format":"3","workbook":"xls","n_sheets":9,"sheets":["封-1_招标工程量清单","扉-1_招标工程量清单","表-01_总说明","表-04_单位工程投标报价汇总表","表-08_分部分项工程和单价措施项目清单与计价表","表-11_总价措施项目清单与计价表","表-12_其他项目清单与计价汇总表","表-15_规费、增值税计价表","招标_主要材料及价格表(全部工料机)"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封-1_招标工程量清单","index":0,"n_rows":12,"n_cols":5,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,3],[2,2,3,2],[5,2,6,2],[8,1,8,3],[9,1,9,3],[10,0,10,1],[10,2,10,4]],"flags":["formulas_cached_only"]}
[null,"中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程",null,"工程"]
[null,"招 标 工 程 量 清 单"]
[null,null,"广西中马钦州产业园区开发有限公司"]
[null,"招  标  人:"]
[null,null,"(单位盖章)"]
[]
[null,"造价咨询人:"]
[null,null,"(单位盖章)"]
[null,"2022年07月27日"]
[]
[]
[{"$nulls":4},"封-1"]

{"sheet":"扉-1_招标工程量清单","index":1,"n_rows":47,"n_cols":9,"rows_kept":47,"merged":[[1,1,1,6],[5,1,5,7],[14,2,15,4],[14,6,15,8],[15,0,15,1],[16,2,16,4],[16,6,16,8],[22,0,22,1],[22,2,23,4],[22,6,23,8],[23,0,23,1],[24,2,24,4],[24,6,24,8],[30,2,31,4],[30,6,31,8],[31,0,31,1],[32,2,32,4],[32,6,32,8],[39,0,39,1],[39,2,39,4],[39,6,39,8],[44,2,44,7]],"flags":["formulas_cached_only"]}
[]
[null,"中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程",{"$nulls":5},"工程"]
[]
[]
[]
[null,"招 标 工 程 量 清 单"]
{"$rows_empty":8}
[null,null,"广西中马钦州产业园区开发有限公司"]
["  招  标  人:",{"$nulls":4},"造价咨询人："]
[null,null,"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[]
[]
[]
[]
["  法定代表人 ",{"$nulls":4},"法定代表人  "]
["或其授权人：",{"$nulls":4},"或其授权人："]
[null,null,"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[]
[]
[]
[]
[]
["编  制  人：",{"$nulls":4},"复  核  人："]
["                 ",null,"（造价人员签字）",{"$nulls":3},"(造价工程师签字盖专用章)"]
[]
[]
[]
[]
[]
[]
["  编 制 时 间:",null,"2022年07月27日",null,null,"复 核 时 间：","2022年07月27日"]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"扉-1"]

{"sheet":"表-01_总说明","index":2,"n_rows":38,"n_cols":3,"rows_kept":38,"merged":[[0,0,0,2],[2,0,36,2]],"flags":["formulas_cached_only"]}
["总  说  明"]
["工程名称:","中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程","第1页 共1页"]
["1、工程概况：                                                                                                         \n    本工程为中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程。本工程建设地点位于广西壮族自治区钦州市钦南区中马钦州产业园区内，含配电工程，基础工程。\n\n2、编制依据：\n    （1）《建设工程工程量清单计价规范》(GB50500-2013)及其广西壮族自治区实施细则、《建设工程工程量计算规范》（GB50854～50862-2013）及其广西壮族自治区实施细则（修订本）；\n2015年《广西壮族自治区安装工程消耗量定额》、《市政工程工程量清单计价规范》(GB50857-2013)及其广西壮族自治区实施细则；                                                                             \n    （2）2014年《广西壮族自治区市政工程量消耗定额》、2015年《广西壮族自治区安装工程消耗量定额》、2013年《广西壮族自治区建筑装饰装修工程消耗量定额》、2016年《广西壮族自治区建设工程费用定额》、《关于调整建设工程定额人工费及有关费率的通知》（桂建标[2018]19号）、《关于调整建设工程计价增值税税率的通知》（桂建标[2019]12号）；等有关规定及相关资料。\n    \n3、其他说明：\n    （1）材料价格参考《钦州市建设工程造价信息》2022年第6期钦州港的材料除税信息价计取，钦州港信息价价格没有部分参考同期钦州市或南宁市信息价及市场询价；                                                      \n    （2）广西聚源供电设计有限责任公司设计的《广西钦州产业园开发有限公司孔雀湾大道1号灯箱变10/0.4KV配电工程》施工图纸；                                                                            \n    （3）本工程弃土运距按1km计算。\n\n\r\n"]
{"$rows_empty":34}
[null,"表-01"]

{"sheet":"表-04_单位工程投标报价汇总表","index":3,"n_rows":42,"n_cols":4,"rows_kept":42,"merged":[[0,0,0,3],[1,0,1,2]],"flags":["formulas_cached_only"]}
["单位工程投标报价汇总表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程",null,null,"第1页 共1页"]
["序号","汇总内容","金额(元)","备注"]
["1","分部分项工程和单价措施项目清单计价合计"]
["2","总价措施项目清单计价合计"]
[" 2.1","  其中:安全文明施工费"]
["3","其他项目清单计价合计"]
["4","税前项目清单计价合计"]
["5","规费"]
["6","增值税"]
["7","工程总造价=1+2+3+4+5+6"]
{"$rows_empty":30}
[null,null," ","表-04"]

{"sheet":"表-08_分部分项工程和单价措施项目清单与计价表","index":4,"n_rows":168,"n_cols":8,"rows_kept":168,"merged":[[0,0,0,7],[1,0,1,5],[1,6,1,7],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,2,7],[3,5,4,5],[3,6,4,6],[41,0,41,7],[42,0,42,5],[42,6,42,7],[43,0,45,0],[43,1,45,1],[43,2,45,2],[43,3,45,3],[43,4,45,4],[43,5,43,7],[44,5,45,5],[44,6,45,6],[83,0,83,7],[84,0,84,5],[84,6,84,7],[85,0,87,0],[85,1,87,1],[85,2,87,2],[85,3,87,3],[85,4,87,4],[85,5,85,7],[86,5,87,5],[86,6,87,6],[125,0,125,7],[126,0,126,5],[126,6,126,7],[127,0,129,0],[127,1,129,1],[127,2,129,2],[127,3,129,3],[127,4,129,4],[127,5,127,7],[128,5,129,5],[128,6,129,6]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程 ",{"$nulls":5},"第1页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"分部分项工程"]
[null,null,"B4 电气设备安装工程"]
["1","030402018001","组合型成套箱式变电站","台","1"]
[null,null," 欧式终端型预装箱式变电站，功率250kVA/10/0.4kV"]
["2","030410003001","导线、进户线架设","km","1.800"]
[null,null,"10KV绝缘导线 JKLYJ-70"]
["3","030408001001","电力电缆","m","30.00"]
[null,null,"10KV电力电缆 YJV22-8.7/15kV-3x70"]
[null,null,"品牌类似于“渝丰”"]
["4","030408006001","电力电缆头","个","1"]
[null,null,"高压户外电缆冷缩终端头，WLS-10/3.2"]
[null,null,"品牌类似于“长缆”"]
["5","030408006002","电力电缆头","个","1"]
[null,null,"高压户内电缆冷缩终端头，NLS-10/3.2"]
[null,null,"品牌类似于“长缆”"]
["6","030410001001","电杆组立","根","3"]
[null,null,"新立1#杆、2#杆、3#杆"]
[null,null,"型号及规格：φ190×15m"]
["7","030410001002","电杆组立","根","9"]
[null,null,"新立4#杆、5#杆、6#杆、7#杆、8#杆、9#杆、10#杆、11#杆、12#杆"]
[null,null,"型号及规格：φ190×12m"]
["8","030410004001","杆上设备","台（组）","1"]
[null,null,"杆上跌落式熔断器"]
[null,null,"规格：RW10-10F/200A"]
[null,null,"熔断器价格参考2022年第一季度电网工程主要设备材料信息价"]
["9","030402010001","避雷器","组","1"]
[null,null,"型号及规格：HY5WS-17/50 TLQ"]
[null,null,"避雷器价格参考2022年第一季度电网工程主要设备材料信息价"]
["10","030404036001","其他电器","根","9"]
[null,null,"瓷横担"]
[null,null,"型号及规格：SC-210/10kV"]
[null,null,"瓷横担价格参考2022年第一季度电网工程主要设备材料信息价"]
["11","030404036002","其他电器","串","18"]
[null,null,"耐张绝缘子串"]
["12","030410002001","横担组装","组","6"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程 ",{"$nulls":5},"第2页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"高压水平横担 ∠63×6×1800"]
[null,null,"横担价格参考2022 年第一季度电网工程主要设备材料信息价"]
["13","030410002002","横担组装","组","24"]
[null,null,"高压水平横担 ∠63×6×1400"]
[null,null,"品牌类似于“知祺旭达”"]
["14","030404036003","其他电器","个","54"]
[null,null,"10kV柱式绝缘子PSQ-15T"]
[null,null,"柱式绝缘子价格参考2022年第一季度电网工程主要设备材料信息价"]
["15","031001001001","镀锌钢管","m","3.00"]
[null,null,"DN-110"]
["16","桂030404039001","焊、压接线端子","个","12"]
[null,null,"钎焊接线端子"]
[null,null,"规格：SLG-70"]
["17","030409001001","角钢垂地极","根","11"]
[null,null,"规格:∠50×5×2500"]
["18","030409002001","接地母线","m","60.00"]
[null,null,"镀锌扁铁  —5*50mm"]
["19","030408010001","防火涂料","kg","10.00"]
["20","030414001001","电力变压器系统","系统","1"]
["21","030414015001","电缆试验","次","1"]
["22","030414011001","接地装置","系统","1"]
["23","03B001","电缆路径标志桩","根","1"]
["24","03B002","警告标志牌","块","4"]
["25","03B003","禁止标志牌","块","2"]
["26","03B004","开关、刀闸、令克标志牌","块","2"]
["27","03B005","10KV电缆终端头标志牌","块","2"]
["28","03B006","10KV用户专变标志牌","块","1"]
["29","03B007","电杆杆号牌","块","12"]
["30","03B008","电缆本体标志牌","块","1"]
["31","03B009","上墙系统图","张","4"]
["32","03B0010","开关命名反光贴纸","张","10"]
["33","03B0011","10kV接地线","套","1"]
[null,null,"三相短路接地线25国标1.5米*3根+5米"]
["34","03B0012","10kv验电笔","支","1"]
["35","03B0013","10kv绝缘手套","副","1"]
["36","03B0014","10kv绝缘鞋","双","1"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程 ",{"$nulls":5},"第3页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
["37","03B0015","10kV令克操作棒","套","1"]
["38","03B0016","干粉灭火器4kg","具","2"]
["39","03B0017","绝缘胶垫","㎡","3.00"]
[null,null,"5mm厚"]
["40","03B0018","拉线（包含拉线棒，拉线盘等）","组","3"]
["41","03B0019","双顶抱箍","套","9"]
[null,null," D194"]
["42","03B0020","U型抱箍","付","6"]
["43","03B0021","加强抱箍 -6×60","付","2"]
["44","03B0022","双头螺栓 M16X340","支","48"]
["45","040101002001","挖沟槽土方","","17.26"]
[null,null,"1.土壤类别:三类土"]
[null,null,"2.挖土深度:1.4m；1.8m"]
["46","040103002001","余方弃置","","17.26"]
[null,null,"1.废弃料品种:废土"]
[null,null,"2.运距1km"]
["47","桂030413010001","砖砌箱变基础","座","1"]
[null,null,"1.200mmC25混凝土商品砼垫层+100mmc15混凝土垫层"]
[null,null,"2.砌MU10页岩标准砖基础墙"]
[null,null,"3.基础侧墙内外面及底面抹防水砂浆,厚度20mm"]
[null,null,"4.预埋口，内填鹅卵石"]
[null,null,"5.混凝土压顶c25"]
["48","040901001001","现浇构件钢筋","t","0.004"]
[null,null,"现浇构件圆钢筋制安 φ10以内"]
["49","桂030404037001","基础型钢","m","1.48"]
[null,null,"材质:槽钢"]
[null,null,"规格:[10"]
[null,null,"     小    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"单价措施项目"]
[]
[null,null,"     小    计"]
[{"$nulls":7},"表-08"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程 ",{"$nulls":5},"第4页 共4页"]
["序\r\n\r\n号","项目编码","项目名称及\r\n项目特征描述","计量单位","工程量","金额(元)"]
[{"$nulls":5},"综合单价","合 价","其中："]
[{"$nulls":7},"暂估价"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
[null,null,"     合    计"]
[null,null,"     ∑人工费"]
[null,null,"     ∑材料费"]
[null,null,"     ∑机械费"]
[null,null,"     ∑管理费"]
[null,null,"     ∑利  润"]
{"$rows_empty":26}
[{"$nulls":7},"表-08"]

{"sheet":"表-11_总价措施项目清单与计价表","index":5,"n_rows":39,"n_cols":7,"rows_kept":39,"merged":[[0,0,0,6],[1,0,1,4],[4,3,6,3],[8,3,11,3],[37,0,37,6]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程   ",{"$nulls":5},"第1页 共1页"]
["序\r\n号","项目编码","项 目 名 称","计 算 基 础","费 率(%)\r\n或标准","金额(元)","备注"]
["一",null,"给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","桂031401001001","安全文明施工费","∑分部分项及单价措施费定额(人工费+机械费)"]
["2","桂031401002001","检验试验配合费"]
["3","桂031401003001","雨季施工增加费"]
["二",null,"市政综合工程(营改增)一般计税法"]
["1","桂041201001002","安全文明施工费","∑分部分项、单价措施(人工费+机械费)"]
["2","桂041201002002","检验试验配合费"]
["3","桂041201003002","雨季施工增加费"]
["4","桂041201004002","工程定位复测费"]
[null,null,"      合     计"]
{"$rows_empty":24}
["注：以项计算的总价措施，无“计算基础”和“费率”的数值，可只填“金额”数值，但应在备注栏说明施工方案出处或计算方式。"]
[{"$nulls":6},"表-11"]

{"sheet":"表-12_其他项目清单与计价汇总表","index":6,"n_rows":41,"n_cols":4,"rows_kept":41,"merged":[[0,0,0,3],[1,0,1,2],[40,0,40,2]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程   ",null,null,"第1页 共1页"]
["序号","项目名称","金额（元）","备注"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
["6","人工费调增",null,"∑(分部分项人工费+单价措施人工费)"]
["7","机械人工费调增",null,"∑(分部分项机械人工费+单价措施机械人工费)"]
["二","市政综合工程(营改增)一般计税法"]
["1","暂列金额",null,"明细详见表－12－1"]
["2","材料暂估价",null,"明细详见表－12－2"]
["3","专业工程暂估价",null,"明细详见表－12－3"]
["4","计日工",null,"明细详见表－12－4"]
["5","总承包服务费",null,"明细详见表－12－5"]
["6","人工费调增",null,"∑(分部分项人工费+单价措施人工费)"]
["7","机械人工费调增",null,"∑(分部分项机械人工费+单价措施机械人工费)"]
[null,"            合           计"]
{"$rows_empty":20}
["注:材料暂估单价进入清单项目综合单价，此处不汇总。",null,null,"表－12"]

{"sheet":"表-15_规费、增值税计价表","index":7,"n_rows":41,"n_cols":5,"rows_kept":41,"merged":[[0,0,0,4],[1,0,1,3],[5,2,12,2],[16,2,23,2]],"flags":["formulas_cached_only"]}
["规费、增值税计价表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程",{"$nulls":3},"第1页 共1页"]
["序号","项目名称","计算基础","计算费率(%)","金额(元)"]
["一","给排水、燃气、电气、通风空调、消防、建筑智能、通信、自控仪表工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
["二","市政综合工程(营改增)一般计税法"]
["1","规费","1.1+1.2+1.3"]
["1.1","社会保险费","∑(分部分项人工费+单价措施人工费)"]
["1.1.1","养老保险费"]
["1.1.2","失业保险费"]
["1.1.3","医疗保险费"]
["1.1.4","生育保险费"]
["1.1.5","工伤保险费"]
["1.2","住房公积金"]
["1.3","工程排污费"]
["2","增值税","Σ（分部分项工程费及单价措施项目费+总价措施项目费+其他项目费+税前项目费+规费）"]
[null,"       合         计"]
{"$rows_empty":14}
[{"$nulls":4},"表-15"]

{"sheet":"招标_主要材料及价格表(全部工料机)","index":8,"n_rows":196,"n_cols":6,"rows_kept":196,"merged":[[0,0,0,5],[1,0,1,2],[1,4,1,5],[42,0,42,5],[43,0,43,2],[43,4,43,5],[84,0,84,5],[85,0,85,2],[85,4,85,5],[126,0,126,5],[127,0,127,2],[127,4,127,5],[168,0,168,5],[169,0,169,2],[169,4,169,5]],"flags":["formulas_cached_only"]}
["主要材料及价格表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程",{"$nulls":3},"第1页  共5页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[1,null,"◆人工◆"]
[2,"000301000","建筑装饰人工","元"]
[3,"000501000","安装人工","元"]
[4,"000701000","市政人工","元"]
[5,null,"◆材料◆"]
[6,"010307003","铁丝 Φ4","kg"]
[7,"010310001","镀锌铁丝(综合)","kg"]
[8,"010502009","钢丝绳 Φ20","m"]
[9,"010903001","圆钢HPB300 Φ10以内(综合)","kg"]
[10,"011303002","镀锌扁钢 -25×4","kg"]
[11,"011303003","镀锌扁钢 -40×4","kg"]
[12,"011902003","槽钢 ［10#]","kg"]
[13,"012902022","钢板 2～2.5mm","kg"]
[14,"012902024","钢板 3.5～4.0mm","kg"]
[15,"014304001","铝包带 1×10mm","kg"]
[16,"014702002","铝绑线 Φ3.2","m"]
[17,"015303002","封铅 含铅 65% 含锡 35%","kg"]
[18,"020101002","橡胶板 2mm","㎡"]
[19,"020102003","石棉橡胶板 1.5mm","㎡"]
[20,"020506001","橡皮护套圈 Φ6～32","个"]
[21,"022701002","毛刷 1#","把"]
[22,"022705004","棉纱头","kg"]
[23,"022706003","白布","m"]
[24,"022706010","破布","kg"]
[25,"023301001","草袋","㎡"]
[26,"030127033","镀锌螺栓M 10×90","套"]
[27,"030127034","镀锌螺栓 M10×100","套"]
[28,"030127042","镀锌螺栓 M12×100","套"]
[29,"030127048","镀锌螺栓 M14×100","套"]
[30,"030127060","镀锌螺栓 M16×250","套"]
[31,"031302001","尼龙砂轮片 100","片"]
[32,"031311002","电焊条 结4222.5~3.2","kg"]
[33,"031321001","焊锡丝  综合","kg"]
[34,"031332002","焊锡膏 瓶装50g","kg"]
[35,"031345001","钢锯条","根"]
[36,"031347004","铁砂布","张"]
[37,"040102001","普通硅酸盐水泥 32.5MPa","t"]
[38,"040301001","砂(综合)","m³"]
[]
["主要材料及价格表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程",{"$nulls":3},"第2页  共5页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[39,"040301004","中砂","m³"]
[40,"040506001","砂砾石","m³"]
[41,"041301001","页岩标准砖 240×115×53","千块"]
[42,"050101001","木材(综合)","m³"]
[43,"130102001","调和漆(综合)","kg"]
[44,"130109001","酚醛磁漆(各种颜色)","kg"]
[45,"130503001","沥青漆","kg"]
[46,"130507001","防锈漆","kg"]
[47,"130519001","沥青绝缘漆","kg"]
[48,"140710001","变压器油","kg"]
[49,"140901002","电力复合酯 一级","kg"]
[50,"143303001","硬酯酸 一级","kg"]
[51,"143901002A","乙炔气","kg"]
[52,"143906001","氧气","m³"]
[53,"172514010","塑料软管 Φ16","m"]
[54,"180316007","压制弯头 DN125","个"]
[55,"182515003","钢线卡子 Φ10~20","个"]
[56,"182529010","U型管卡子DN125","个"]
[57,"270301003","保险丝 10A","轴"]
[58,"271702001","绝缘黑胶布 20mm×20m","卷"]
[59,"280104002","镀锡裸铜绞线 TJX-16","kg"]
[60,"290631007","电缆吊挂 3×50","套"]
[61,"290905005","铜接线端子 DT-16mm2","个"]
[62,"290905009","铜接线端子 DT-70mm2","个"]
[63,"290905009","铜接线端子 DT-70mm2","个"]
[64,"292702006","尼龙扎带(综合)","个"]
[65,"330114001","高稀钢爬梯","个"]
[66,"340902002","黄漆布带 20mm×40m","卷"]
[67,"341101001","水","m³"]
[68,"341301011","标志牌 塑料扁形","个"]
[69,"341508001","其他材料费","元"]
[70,"341508001","有机堵料(柔性堵料)","kg"]
[71,"341508002","其他材料费","元"]
[72,"341509001","校验材料费","元"]
[73,"370905001","钢垫板","kg"]
[74,"B-C.1","欧式箱式变电站","台"]
[75,null,"◆商品砼◆"]
[76,"043104002","碎石 GD40  商品普通砼  C15","m³"]
[]
["主要材料及价格表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程",{"$nulls":3},"第3页  共5页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[77,"043104004","碎石 GD40  商品普通砼  C25","m³"]
[78,null,"◆配合比◆"]
[79,"800101006","水泥砂浆中砂M7.5","m³"]
[80,"800102004","水泥砂浆 1∶2.5","m³"]
[81,"b-","10KV绝缘导线 JKLYJ-70","km"]
[82,"b-","高压水平横担 ∠63×6×1400","根"]
[83,"b-","高压水平横担 ∠63×6×1800","根"]
[84,"b-","绝缘子串","串"]
[85,null,"◆主材◆"]
[86,"170014000","钢管","m"]
[87,"270606000","接地极 ∠50×5×2500","根"]
[88,"290702100","高压户内电缆冷缩终端头","套"]
[89,"290702100","高压户外电缆冷缩终端头","套"]
[90,"291902001","新立4#杆、5#杆、6#杆、7#杆、8#杆、9#杆、10#杆、11#杆、12#杆","根"]
[91,"291903001","新立1#杆、2#杆、3#杆","根"]
[92,"B-Z.10","电缆本体标志牌","块"]
[93,"B-Z.11","上墙系统图","张"]
[94,"B-Z.12","反光贴纸","张"]
[95,"B-Z.13","10kV令克操作棒","套"]
[96,"B-Z.14","干粉灭火器","具"]
[97,"B-Z.15","绝缘胶垫","㎡"]
[98,"B-Z.16","双顶抱箍","套"]
[99,"B-Z.17","U形抱箍 U16,D=300","付"]
[100,"B-Z.18","双头螺栓","支"]
[101,"B-Z.19","加强抱箍","付"]
[102,"B-Z.1","三相短路接地线25国标1.5米*3根+5米","组"]
[103,"B-Z.20","整组拉线","组"]
[104,"B-Z.21","电缆路径标志桩，PVC标识桩，1米","根"]
[105,"B-Z.22","警告标志牌","块"]
[106,"B-Z.23","验电笔","支"]
[107,"B-Z.24","避雷器","只"]
[108,"B-Z.2","瓷横担","根"]
[109,"B-Z.3","绝缘手套","副"]
[110,"B-Z.4","绝缘鞋","双"]
[111,"B-Z.5","禁止标志牌","块"]
[112,"B-Z.6","开关、刀闸、令克标志牌","块"]
[113,"B-Z.7","10kv电缆终端头标志牌","块"]
[114,"B-Z.8","10KV用户专变标志牌","块"]
[]
["主要材料及价格表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程",{"$nulls":3},"第4页  共5页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[115,"B-Z.9","电杆杆号牌","块"]
[116,"b-","10kV 瓷绝缘支柱绝缘子","串"]
[117,"Z270101001","熔断器","个"]
[118,"Z270603001","接地母线 热镀锌扁钢-50*5","m"]
[119,"Z281100000","10KV电力电缆 YJV22-8.7/15kV-3x70","m"]
[120,"Z290626002","钳接管 QL-95","只"]
[121,"Z291701002","并沟线夹JB-2","只"]
[122,null,"◆机械台班组成◆"]
[123,"000301001A","机械台班人工费","元"]
[124,"000301001","机械台班人工费","元"]
[125,"140301004","国V汽油 92#","kg"]
[126,"140304001","轻柴油 0#","kg"]
[127,"341103001","电","kW.h"]
[128,"994701001","其他机械费","元"]
[129,"994701003","停滞费","元"]
[130,"994701004","折旧费","元"]
[131,"994701005","大修理费","元"]
[132,"994701006","经常修理费","元"]
[133,"994701007","安拆及场外运输费","元"]
[134,"994701008","其他费用","元"]
[135,null,"◆机械◆"]
[136,"980101003","变比自动测量仪 AOJ-2","台班"]
[137,"980307001","精密电桥 YY2814","台班"]
[138,"980502003","数字万用表 F-87","台班"]
[139,"980504001","数字高压表 GYB-Ⅱ","台班"]
[140,"980506001","电能校验仪 ST9040","台班"]
[141,"980507001","电压、电流互感升流器 HJ-l2E","台班"]
[142,"980508001","电压电流表(各种量程)","台班"]
[143,"981101003","接地电阻测试仪 DET-3/2","台班"]
[144,"981106001","继电保护测试仪 JBC","台班"]
[145,"981107001","继电器检验仪 RLC-50","台班"]
[146,"981110001","绝缘电阻测试仪3141","台班"]
[147,"981110002","绝缘电阻测试仪 ZC-8","台班"]
[148,"981113001","真空断路器测试仪 VIDAR","台班"]
[149,"981115001","成套交流耐压试验设备10kV","台班"]
[150,"981304001","数字毫秒计 DM3-802H","台班"]
[151,"981509001","变压器直流电阻测试仪 JD252o","台班"]
[152,"983102001","相位频率计704-3","台班"]
[]
["主要材料及价格表"]
["工程名称:中国—马来西亚钦州产业园区友谊北临时施工1号专变10/0.4kV配电工程",{"$nulls":3},"第5页  共5页"]
["序号","材料编码","项目名称及规格、型号等特殊要求","单位","数量","单价（元）"]
[153,"983510001","电缆测试仪 JH5132","台班"]
[154,"984103001","高压整流硅堆、滤波器","台班"]
[155,"984110001","直流高压发生器 ZGF-200","台班"]
[156,"984114001","光导介损测量仪","台班"]
[157,"984714001","高压绝缘电阻测试仪 3124","台班"]
[158,"990101002","履带式液压单斗挖掘机[斗容量0.4]","台班"]
[159,"990506002","混凝土振捣器[插入式]","台班"]
[160,"990509001","灰浆搅拌机[拌筒容量200L]","台班"]
[161,"990701004","履带式推土机[功率75kW]","台班"]
[162,"990704002","载货汽车[装载质量2.5t]","台班"]
[163,"990704005","载货汽车[装载质量5t]","台班"]
[164,"990705003","自卸汽车[装载质量4.5t]","台班"]
[165,"990903002","汽车式起重机[提升质量8t]","台班"]
[166,"990903004","汽车式起重机[提升质量12t]","台班"]
[167,"991701001","钢筋调直机[直径14mm]","台班"]
[168,"991702001","钢筋切断机[直径40mm]","台班"]
[169,"991703001","钢筋弯曲机[直径40mm]","台班"]
[170,"992501001A","交流电弧焊机 容量21kV.A","台班"]
[171,"992501002A","交流电弧焊机 容量30kV.A","台班"]
[172,"993908002","轻型试验变压器 TSB","台班"]
[173,"993913001","高压试验变压器全套装置 YDJ","台班"]
[174,"994410004","试压泵 压力 30MPa","台班"]
[175,"994506003","液压线钳 100t","台班"]
[176,"994506004","油压接管钳 50t","台班"]
[177,null,"#### 合 计 ####"]